## Output Projections
DCSEU - Solar for All
Legend
|  |  |  | User Inputs |  | Generation Value Calculator
Proposed Terms |  | Inputs |  | Units |  | Incentive Level | [ $/W ] | 1.25
|  |  |  | Assumptions* |  | Incentive Amount | [ $ ] | 125000
Total capacity | [ kW ] | 100 |  | Calculation |  | Generation Value | [ $/kWh ] | 0.063695
Capacity Factor | [ % ] | 13.7% |  | Output
MWh/MW | [ # ] | 1200 |  |  |  | Default Payment Calculator
Projected Lifetime Output | [ kWh ] | 2400000 |  |  |  | System Size (kW) | 100
Required Output level | [ % ] | 90% |  |  |  | Incentive Level ($/W) | 1.25
Output Years | [ years ] | 20 |  |  |  | Default Year | 21
Year 1 Output | [ kWh ] | 120000 |  |  |  | Output Level in default year(%) | 0%
Total Installed Cost | [ $ ] |  |  |  |  | Incentive Amount ($) | 125000
Cost per Watt | [ $/W ] | 0 |  |  |  | Percent of Output Lost (%) | -2.22e-14%
Panel Degredation Factor | [ % ] | 1% |  |  |  | Default Penalty ($) | -2.7756e-11
Pepco ATO Date |  | 2020-03-15
Commerical Operation Date | Contractor | 2020-04-03
Commerical Operation Date | Calculated | 2020-03-29
Year 1 Starting Month |  | Apr
Year 1 Prorate % |  | 79%
Year 21 Prorate % |  | 21%
Generation | Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | Total
PV Degredation | [ %/year ] | 1 | 0.99 | 0.9801 | 0.9703 | 0.9606 | 0.95099 | 0.94148 | 0.93207 | 0.92274 | 0.91352 | 0.90438 | 0.89534 | 0.88638 | 0.87752 | 0.86875 | 0.86006 | 0.85146 | 0.84294 | 0.83451 | 0.82617 | 0.81791
Projected Output | [ kWh ] | 94800 | 118800 | 117612 | 116435.88 | 115271.5212 | 114118.806 | 112977.6179 | 111847.8417 | 110729.3633 | 109622.0697 | 108525.849 | 107440.5905 | 106366.1846 | 105302.5228 | 104249.4975 | 103207.0026 | 102174.9325 | 101153.1832 | 100141.6514 | 99140.2349 | 20611.2548 | 2180528.0037
Contracted Output | [ kWh ] | 85320 | 106920 | 105850.8 | 104792.292 | 103744.3691 | 102706.9254 | 101679.8561 | 100663.0576 | 99656.427 | 98659.8627 | 97673.2641 | 96696.5315 | 95729.5661 | 94772.2705 | 93824.5478 | 92886.3023 | 91957.4393 | 91037.8649 | 90127.4862 | 89226.2114 | 18550.1293 | 1962475.2033
Cummulative Output | [ kWh ] | 85320 | 192240 | 298090.8 | 402883.092 | 506627.4611 | 609334.3865 | 711014.2426 | 811677.3002 | 911333.7272 | 1009993.5899 | 1107666.854 | 1204363.3855 | 1300092.9516 | 1394865.2221 | 1488689.7699 | 1581576.0722 | 1673533.5115 | 1764571.3763 | 1854698.8626 | 1943925.0739 | 1962475.2033
Imputed Generation Price | [ $/kWh ] | 0.063695 | 0.063695 | 0.063695 | 0.063695 | 0.063695 | 0.063695 | 0.063695 | 0.063695 | 0.063695 | 0.063695 | 0.063695 | 0.063695 | 0.063695 | 0.063695 | 0.063695 | 0.063695 | 0.063695 | 0.063695 | 0.063695 | 0.063695 | 0.063695
Output Value | [ $ ] | 5434.4636 | 6810.2771 | 6742.1744 | 6674.7526 | 6608.0051 | 6541.925 | 6476.5058 | 6411.7407 | 6347.6233 | 6284.1471 | 6221.3056 | 6159.0926 | 6097.5016 | 6036.5266 | 5976.1614 | 5916.3997 | 5857.2357 | 5798.6634 | 5740.6768 | 5683.27 | 1181.5518 | 125000
| Year | 21% 1: Projected Output (kWh); 21% 2: 90% of Output (kWh); 21% 3: Percent of Total Output; 21% 4: Cumulative 90% of Output (kWh); 21% 5: Accumulated Percent; 21% 6: Generation Value (incentive*%); 21% 7: Cumulative Value (incentive *%); 21% 8: Actual Output (to be entered as part of the annual "True-Up"); 21% 9: Shortfall; 21% 10: Performance Penalty
| 1 | 21% 1: 94800; 21% 2: 85320; 21% 3: 4.348%; 21% 4: 85320; 21% 5: 4.348%; 21% 6: 5434.4636; 21% 7: 5434.4636; 21% 8: 85320; 21% 9: 0%; 21% 10: 0
| 2 | 21% 1: 118800; 21% 2: 106920; 21% 3: 5.448%; 21% 4: 192240; 21% 5: 9.796%; 21% 6: 6810.2771; 21% 7: 12244.7407; 21% 8: 106920; 21% 9: 0%; 21% 10: 0
| 3 | 21% 1: 117612; 21% 2: 105850.8; 21% 3: 5.394%; 21% 4: 298090.8; 21% 5: 15.19%; 21% 6: 6742.1744; 21% 7: 18986.9151; 21% 8: 105850.8; 21% 9: 0%; 21% 10: 0
| 4 | 21% 1: 116435.88; 21% 2: 104792.292; 21% 3: 5.34%; 21% 4: 402883.092; 21% 5: 20.53%; 21% 6: 6674.7526; 21% 7: 25661.6677; 21% 8: 104792.292; 21% 9: 0%; 21% 10: 0
| 5 | 21% 1: 115271.5212; 21% 2: 103744.3691; 21% 3: 5.286%; 21% 4: 506627.4611; 21% 5: 25.82%; 21% 6: 6608.0051; 21% 7: 32269.6728; 21% 8: 103744.3691; 21% 9: 0%; 21% 10: 0
| 6 | 21% 1: 114118.806; 21% 2: 102706.9254; 21% 3: 5.234%; 21% 4: 609334.3865; 21% 5: 31.05%; 21% 6: 6541.925; 21% 7: 38811.5978; 21% 8: 102706.9254; 21% 9: 0%; 21% 10: 0
| 7 | 21% 1: 112977.6179; 21% 2: 101679.8561; 21% 3: 5.181%; 21% 4: 711014.2426; 21% 5: 36.23%; 21% 6: 6476.5058; 21% 7: 45288.1036; 21% 8: 101679.8561; 21% 9: 0%; 21% 10: 0
| 8 | 21% 1: 111847.8417; 21% 2: 100663.0576; 21% 3: 5.129%; 21% 4: 811677.3002; 21% 5: 41.36%; 21% 6: 6411.7407; 21% 7: 51699.8443; 21% 8: 100663.0576; 21% 9: 0%; 21% 10: 0
| 9 | 21% 1: 110729.3633; 21% 2: 99656.427; 21% 3: 5.078%; 21% 4: 911333.7272; 21% 5: 46.44%; 21% 6: 6347.6233; 21% 7: 58047.4677; 21% 8: 99656.427; 21% 9: 0%; 21% 10: 0
| 10 | 21% 1: 109622.0697; 21% 2: 98659.8627; 21% 3: 5.027%; 21% 4: 1009993.5899; 21% 5: 51.47%; 21% 6: 6284.1471; 21% 7: 64331.6148; 21% 8: 98659.8627; 21% 9: 0%; 21% 10: 0
| 11 | 21% 1: 108525.849; 21% 2: 97673.2641; 21% 3: 4.977%; 21% 4: 1107666.854; 21% 5: 56.44%; 21% 6: 6221.3056; 21% 7: 70552.9204; 21% 8: 97673.2641; 21% 9: 0%; 21% 10: 0
| 12 | 21% 1: 107440.5905; 21% 2: 96696.5315; 21% 3: 4.927%; 21% 4: 1204363.3855; 21% 5: 61.37%; 21% 6: 6159.0926; 21% 7: 76712.0129; 21% 8: 96696.5315; 21% 9: 0%; 21% 10: 0
| 13 | 21% 1: 106366.1846; 21% 2: 95729.5661; 21% 3: 4.878%; 21% 4: 1300092.9516; 21% 5: 66.25%; 21% 6: 6097.5016; 21% 7: 82809.5146; 21% 8: 95729.5661; 21% 9: 0%; 21% 10: 0
| 14 | 21% 1: 105302.5228; 21% 2: 94772.2705; 21% 3: 4.829%; 21% 4: 1394865.2221; 21% 5: 71.08%; 21% 6: 6036.5266; 21% 7: 88846.0412; 21% 8: 94772.2705; 21% 9: 0%; 21% 10: 0
| 15 | 21% 1: 104249.4975; 21% 2: 93824.5478; 21% 3: 4.781%; 21% 4: 1488689.7699; 21% 5: 75.86%; 21% 6: 5976.1614; 21% 7: 94822.2026; 21% 8: 93824.5478; 21% 9: 0%; 21% 10: 0
| 16 | 21% 1: 103207.0026; 21% 2: 92886.3023; 21% 3: 4.733%; 21% 4: 1581576.0722; 21% 5: 80.59%; 21% 6: 5916.3997; 21% 7: 100738.6023; 21% 8: 92886.3023; 21% 9: 0%; 21% 10: 0
| 17 | 21% 1: 102174.9325; 21% 2: 91957.4393; 21% 3: 4.686%; 21% 4: 1673533.5115; 21% 5: 85.28%; 21% 6: 5857.2357; 21% 7: 106595.838; 21% 8: 91957.4393; 21% 9: 0%; 21% 10: 0
| 18 | 21% 1: 101153.1832; 21% 2: 91037.8649; 21% 3: 4.639%; 21% 4: 1764571.3763; 21% 5: 89.92%; 21% 6: 5798.6634; 21% 7: 112394.5014; 21% 8: 91037.8649; 21% 9: 0%; 21% 10: 0
| 19 | 21% 1: 100141.6514; 21% 2: 90127.4862; 21% 3: 4.593%; 21% 4: 1854698.8626; 21% 5: 94.51%; 21% 6: 5740.6768; 21% 7: 118135.1782; 21% 8: 90127.4862; 21% 9: 0%; 21% 10: 0
| 20 | 21% 1: 99140.2349; 21% 2: 89226.2114; 21% 3: 4.547%; 21% 4: 1943925.0739; 21% 5: 99.05%; 21% 6: 5683.27; 21% 7: 123818.4482; 21% 8: 89226.2114; 21% 9: 0%; 21% 10: 0
| 21 | 21% 1: 20611.2548; 21% 2: 18550.1293; 21% 3: 0.9452%; 21% 4: 1962475.2033; 21% 5: 100%; 21% 6: 1181.5518; 21% 7: 125000; 21% 8: 18550.1293; 21% 9: 0%; 21% 10: 0
| Total | 21% 1: 2180528.0037; 21% 2: 1962475.2033; 21% 3: 100%; 21% 4: 1; 21% 6: 125000; 21% 7: 1; 21% 8: 1962475.2033; 21% 10: 0
| Note | 21% 4: Performance Penalty Calculator
- Calculator assumes 100% generation in all years prior to shortfall year. - This calculator should be used only to determine the specific penalty amount in any individual year.
[5 empty] | Year | P(90) Output (kWh) | Percent of Total Output | Generation Value (incentive*%) | Actual Output | Shortfall | Performance Penalty
[6 empty] | 85320 | 4.348% | 5434.4636 | 85320 | 0% | 0
[6 empty] | 106920 | 5.448% | 6810.2771 | 106920 | 0% | 0
[6 empty] | 105850.8 | 5.394% | 6742.1744 | 105850.8 | 0% | 0
[6 empty] | 104792.292 | 5.34% | 6674.7526 | 104792.292 | 0% | 0
[6 empty] | 103744.3691 | 5.286% | 6608.0051 | 103744.3691 | 0% | 0
[6 empty] | 102706.9254 | 5.234% | 6541.925 | 102706.9254 | 0% | 0
[6 empty] | 101679.8561 | 5.181% | 6476.5058 | 101679.8561 | 0% | 0
[6 empty] | 100663.0576 | 5.129% | 6411.7407 | 100663.0576 | 0% | 0
[6 empty] | 99656.427 | 5.078% | 6347.6233 | 99656.427 | 0% | 0
[6 empty] | 98659.8627 | 5.027% | 6284.1471 | 98659.8627 | 0% | 0
[6 empty] | 97673.2641 | 4.977% | 6221.3056 | 97673.2641 | 0% | 0
[6 empty] | 96696.5315 | 4.927% | 6159.0926 | 96696.5315 | 0% | 0
[6 empty] | 95729.5661 | 4.878% | 6097.5016 | 95729.5661 | 0% | 0
[6 empty] | 94772.2705 | 4.829% | 6036.5266 | 94772.2705 | 0% | 0
[6 empty] | 93824.5478 | 4.781% | 5976.1614 | 93824.5478 | 0% | 0
[6 empty] | 92886.3023 | 4.733% | 5916.3997 | 92886.3023 | 0% | 0
[6 empty] | 91957.4393 | 4.686% | 5857.2357 | 91957.4393 | 0% | 0
[6 empty] | 91037.8649 | 4.639% | 5798.6634 | 91037.8649 | 0% | 0
[6 empty] | 90127.4862 | 4.593% | 5740.6768 | 90127.4862 | 0% | 0
[6 empty] | 89226.2114 | 4.547% | 5683.27 | 89226.2114 | 0% | 0
[6 empty] | 18550.1293 | 0.9452% | 1181.5518 | 18550.1293 | 0% | 0
[5 empty] | Total | 1962475.2033 | 1 | 125000 | 1962475.2033 | 0 | 0
Note on L35: John III: Enter Actual annual production here.

## Sheet1 (hidden)
Month | Prorate % | Cumulative
Jan | 5% | 100%
Feb | 7% | 95%
Mar | 9% | 88%
Apr | 10% | 79%
May | 11% | 69%
Jun | 11% | 58%
Jul | 11% | 47%
Aug | 10% | 36%
Sep | 9% | 26%
Oct | 7% | 17%
Nov | 5% | 10%
Dec | 5% | 5%